Laser for twin-to-twin transfusion syndrome : a guide for endoscopic surgeons

Lennart Van der Veeken1, Isabelle Couck1, Johannes van der Merwe1, Luc De Catte1, Roland Devlieger1, Jan Deprest1,2  Liesbeth Lewi1,

Jan Deprest  - 0000-0002-4920-945X

Lennart Van der Veeken 0000-0002-6551-661X

Johannes van der Merwe 0000-0002-1381-4033

Isabel Couck 0000-0003-3002-7151

Liesbeth Lewi 0000-0002-9884-5778

Roland Devlieger 0000-0001-7837-4684

1 Academic Department of Development and Regeneration, Woman and Child, Biomedical Sciences, KULeuven and Clinical Department of Obstetrics and Gynecology, University Hospitals Leuven, Herestraat 49, 3000, Leuven, Belgium

2 Institute for Women’s Health, University College London, London, United Kingdom

Correspondence

Jan Deprest, MD, PhD, FRCOG: Herestraat 49, 3000 Leuven, Belgium; jan.deprest@uzleuven.be

Abstract

Twin-to-twin-transfusion syndrome (TTTS) is the most important cause of handicap and death in monochorionic twin pregnancies. It is caused by a certain pattern of anastomoses between the two fetal circulations leading to an unbalanced blood and fluid transfer. This leads to the severe amniotic fluid discordance and variable degrees of cardiac dysfunction. Untreated, this condition has a very poor survival rate. Fetoscopic laser has been shown to be the best first line treatment, which aims to dichorionise the placenta hereby arresting the intertwin transfusion. Fetoscopic laser is a causative therapy, which aims to functionally create a dichorionized placenta hence arresting intertwin transfusion. This is achieved by percutaneous sono-endoscopic coagulation of placental anastomoses. In addition redundant amniotic fluid is drained. Fetoscopic laser coagulation of chorionic plate anastomoses is safe and effective. There is level I evidence that it is the best treatment modality, in particular when the placental surface is lined along the vascular equator. A recent meta-analysis confirmed an increased fetal survival and decreased risk for  neonatal and pediatric neurologic morbidity. Laser therapy is the first line therapy for TTTS. The technique is quite standardized, and safe and effective in experienced hands. Herein we describe the technique and current instrumentation used for this procedure.

Keywords
Fetoscopy, Laser, monochorionic  twin pregnancy, twin twin transfusion, TTTS, TOPS

Background

Monozygotic twins are the result of the cleavage of one fertilized egg. In about 70% of monozygotic twins, cleavage occurs after the 4th day post fertilization, resulting in a twin set that shares a single placenta, hence monochorionic twins (MC) (Hall 2003). Although MC twin pregnancies only make up 20% of all twin pregnancies, they have a considerably higher risk for mortality and morbidity than dichorionic (DC) twins. This is due to nearly ever-present exchange of blood through vascular anastomoses between the two fetal circulations. In case of an imbalance in this exchange, it can lead to the development of a severe amniotic fluid discrepancy, better known as twin-to-twin transfusion syndrome (TTTS). This occurs in around 10% of MC pregnancies (Lewi et al. 2010).

Twin to twin transfusion syndrome

It is the specific angioarchitecture of connecting chorionic plate arterio-arterial (AA), veno-venous (VV) and bidirectional arterio-venous (AV) connections (Figure 1 - 2) that will determine whether a net blood and fluid shift from one twin to the other arises (Acosta-Rojas et al. 2007, Lewi et al. 2008). In that case the donor becomes hypovolemic with oliguria, leading to oligo-anhydramnios. On the other hand, the recepient develops hypervolemia leading to polyuric polyhydramnios. Besides a transfusion imbalance, there is hormonal dysfunction and usually also a variable degree of unequal placental sharing (Mahieu-Caputo et al. 2001). The condition is typically occurring in mid gestation yet early (<16 weeks) and late manifestations (>26 weeks) are possible.

The presenting ultrasound features are the base for staging TTTS, the most common system that proposed by Quintero (Quintero et al. 1999). Irrespective of the stage, there is severe  fluid discrepancy. To qualify for oligohydramnios, the deepest vertical pocket (DVP) should be <2cm. In Europe a cut off for polyhydramnios of >8cm prior to 20 weeks and > 10cm after 20 weeks is used (Senat et al. 2004). In contrast, in the USA the cut-off of 8cm is maintained throughout gestation (Quintero et al. 1999). Before 18 weeks , some authors suggest to use a cut-off of > 6cm to define the polyhydramnios, although this is not yet generally accepted (Lewi 2010).  In stage I disease, there is still bladder filling in the donor. In stage II, bladder filling is absent. In stage III, there is obvious hemodynamic impact evidenced by Doppler abnormalities in the umbilical artery, vein or ductus venosus. In stage IV there is fetal hydrops (Quintero et al. 1999). Stage V means fetal death of one or both twins. Although growth discordance often accompanies TTTS, it is not a diagnostic criterion.

The condition should be discriminated from Twin-Anemia Polycythemia Sequence (TAPS). The latter is caused by a net transfusion over tiny  anastomoses and causing anemia in one twin and polycythemia in the other one, potentially with hemodynamic changes (Gucciardo et al. 2010, Slaghekke et al. 2010). TAPS can arise spontaneously, yet it is better known as a complication of incomplete laser coagulation with missed small communications. Laser can be used to dichorionize the placenta in case of TAPS and also in case of sIUGR, yet this has not yet been clinically proven to be of benefit (Gratacos et al. 2008, Chalouhi et al. 2013). Herein we will only focus on laser for TTTS.

The placenta as a surgical target

Until today TTTS is still the most important cause of death and handicap in MC twins(Ortibus et al. 2009). Untreated mid-trimester TTTS has a 95% mortality, either by miscarriage or preterm delivery or in utero fetal death. Until the late 1990’s serial amnioreduction was the standard of care, alleviating the polyhydramnios and improving to some extent the placental perfusion. Amnioreduction decreased mortality to 50%, yet about 70% of survivors suffered  neurologic morbidity  (Senat et al. 2004). A more causative approach is to ablate all intertwin anastomoses. Surgical ablation is done under sono-endoscopic control using laser energy with a specific absorbance spectrum for Hb (Klaritsch et al. 2009). The ultimate goal of the operation is to dichorionise the placenta to  arrest the intertwin transfusion.

Special instruments were developed in the 1990s to perform this operation percutaneously. A range of fiber endoscope diameters are available (1.0-2.0 mm), either housed or integrated into straight or curved sheaths. One or more operative channels allow for laser fiber insertion and irrigation of fluid. The sheath will determine the ultimate diameter of the cannula to be used for amniotic sac entry. Diameters of instruments vary according to gestational age. An overview of the material typically used can be found in Table 1. We occasionally use a larger diameter, 30° 2.0mm rod lens HOPKINS® endoscope (26120BA, Karl Storz GmbH, Tuttlingen, Germany) when optimal visualization is required. Visualisation can be impaired due to cloudy, dense or hemorrhagic amniotic fluid. This rigid scope does not have a working channel, yet it allows more light and as a rod lens system it provides an image without the typical honey comb pattern of fibre endoscopes.

Methods

Set-up

The operator needs to be familiar with both ultrasound and endoscopic guided procedures. Ultrasound evaluation of fetal and placental position and cord insertion will determine the ideal position for insertion of the fetoscope. Ideally the scope is inserted to obtain a 90° angle to the vascular equator. Obviously, this location is not known for certain prior to surgery as it cannot be identified by the current imaging tools. In practice one presumes it to run perpendicular to the line connecting  the two cord insertions. The entry site should provide a maximum overview over the placenta, in particular the presumed equator. The entry point is further determined by physical limitations, such as relevant maternal structures like bowels or vessels. The latter can be avoided by using Doppler ultrasound, identifying uterine or broad ligament vessels, uterine wall vasculature, placental and cord vessels and other fetal structures. The entry is usually chosen in the sac of the recipient to avoid septostomy. Some operators will enter the donor sac in specific cases. When this is done inadvertently at first access, it creates septostomy with its own complications. It is strongly recommended not to enter through the placenta, however that is not always possible. Transplacental insertion does cause bleeding, impaired vision, yet also is associated with poorer results (Stirnemann et al. 2013) . To obtain optimal visualization and laser firing angle, the patient should be positioned so that an ideal entry site can be obtained. For example, in case the equator is estimated to be vertical anterior, the patient is positioned completely on her side for a maximal lateral entry. In case of a horizontal or transverse equator the operator can stand in between the legs. The screens should be positioned opposite the operators. Ideally both imaging modalities are visualized.

Entry

The procedure is performed under strict aseptic conditions. We actually perform this procedure  in a full scale operation theatre. The skin is disinfected and covered with sterile drapes. The point of entry is anesthetized with local anesthesia, its depth being controlled under ultrasound control (Video 1). Besides local anesthesia, in some centers intravenous sedatives are administered (pethidine, remifentanil, propofol, midazolam) or tocolytics (atosiban, nifedipine) depending on the case and gestational age. A small incision is made to allow smoother trocar introduction. The trocar is pyramidal shaped and housed in a thin walled flexible cannula, originally designed for vascular access (Check-Flo Performer® Introducer Set, Cook Medical Inc., Bloomington, IN, USA). This accommodates curved endoscopes. The diameter of the cannula is dependent on the instrument used. The trocar and cannula are inserted under ultrasound guidance into the large amniotic sac. Others prefer to use the Seldinger-technique (Deprest et al. 1998), as used for vascular access (video 2). In that case, first, a needle is introduced in the amniotic cavity, through which a guide wire is advanced. The needle is removed, following which a dilator and cannula is advanced under vision. Once inside the cavity, the dilator and guidewire are withdrawn (figure 3, video 3). This technique might be more useful in case of no polyhydramnios such as sIUGR and TAPS, but preference is mainly operator dependent. There is at present no evidence that outcomes of one or the other entry technique are better (Petersen et al. 2016).

The fetoscope is advanced through the cannula to overlook the surgical field. To assist in this, warmed lactated Ringer’s solution can be infused either through the working channel or cannula. This may improve visibility, create more working space and will eventually also clear debris from the laser fiber when coagulating. Firstly the landmarks need to be identified, i.e. the umbilical cord insertions, the inter-twin membrane insertion and  the vessels connecting the two fetuses (Figure 4, video 4). The membrane appears as a white line. Veins and arteries are easily distinguished. In utero veins have a more typical red (oxygenated) color while arteries are darker (deoxygenated blood). Furthermore arteries cross over the veins . The placental borders, cord insertions and the vessels arising from them need to be carefully mapped. This may be hindered by fetal structures, or the stuck twin. In that case, donor vessels can be seen leaving from under the donor without returning and rather going in direction of the equator and the recepient. When one cannot determine whether a vessel is anastomosing or not, we advise to coagulate it.

Selective laser

Laser coagulation of the anastomoses is performed from approximatively 1cm distance (figure 5). Typical lasers used in this type of surgery are neodymium:yttrium–aluminium–garnet (Nd:YAG; wavelength1064 nm, reported power requirements 50–100 W, e.g. MedilasFibertom 8100; Dornier MedTech, Wessling, Germany) or diode (940 nm, 20–60 W, e.g. Medilas D Multibeam; Dornier Med-Tech) (Akkermans et al. 2015). Laser energy should be adapted to the working distance, type and size of the vessels. Contact between laser fiber and tissue should be avoided at all costs. The laser can also be fired through the membrane in case vessels behind the membrane need to be coagulated. Bursts of energy are fired during 3 to 4 seconds to coagulate the vessel. Vessels and amnion will turn white as a sign of coagulation. In case of larger vessels (>3mm), multiple shots along the course of the vessel may be necessary to progressively obtain narrowing and finally completely obliterate it (video 5). This should be done cautiously at low energy levels as it risks to perforate and cause fetal bleeding which might be lethal on the short term. On the other hand slightly higher laser energy can be more energy efficient and cause less placental damage (Akkermans et al. 2017, Akkermans et al. 2017).

Sequential laser

From a surgical viewpoint it is important that AA and VVs are direct communications between arteries and veins respectively on the surface of the placenta (Figure 1). AAs and VVs are therefore called superficial anastomoses. In contrast,  in an AV anastomosis typically the artery of one twin dips into the placenta a few millimeters from a vein of the other twin (Figure 2; inset). AVs are therefore called deep anastomoses. When uncompensated, the blood supplied by the artery of one fetus will then be entirely drained to a vein from the other fetus. From a surgical point of view it is important to correctly identify the different types of anastomoses to allow grouped coagulation of AV, AA and VV, known as sequential lasering (Quintero et al. 2007). In this technique first AV (donor to recipient) are coagulated, followed by VA (recipient to donor). Sequential lasering has been associated with improved survival rates in several non-randomised studies (Quintero et al. 2007, Akkermans et al. 2015).

Solomon technique

Once all anastomoses are coagulated, it is now advised that coagulation points are connected by a line from one placental border to the other for complete coagulation of all small vessels that may have been missed initially [19] (“Solomon” technique) (figure 6, video 6). The superiority of this technique was demonstrated in a randomized trial comparing it to conventional lasering without the “line” (Slaghekke et al. 2014). Some recent observational reports suggest that lining of the placenta  might increase the risk for placental abruption or PPROM (Lanna et al. 2017, Stirnemann et al. 2018), although this was initially not reported in the Solomon trial. This could be explained by the longer time of the procedure and possibly wider manipulation of the cannula and scope.

Before ending the procedure, a final check can be performed to optimally visualize the coagulation trajectory using the rod lens-scope, which has a wider lens because it does not have an operative channel, (video 7). Amniotic fluid is then drained till normal levels. The cannula is removed under ultrasound guidance.

Anterior placenta

In case of an anterior placenta, the straight scope can be switched for a curved model which allows more complete vision of the placenta and a better angle between the laser and the placenta for optimal energy impact (Figure 7). By positioning the patient in extreme lateral tilt the maximum lateral insertion point can be chosen to further optimize the angle. An alternative is to advance the cannula till it makes contact with the placenta, which tumbles the latter in front of it. Then the laser can be fired from within the cannula, yet at a lower energy level (Klaritsch et al. 2009). Other options have been tried to overcome this problem, including a mini laparotomy for fundal access to the uterus or laparoscopic assistance (Deprest et al. 1998, Papanna et al. 2010). Quintero et al described the use of a thicker laser fiber with side-firing capabilities (Quintero et al. 2001). This requires a second working channel as the thicker fiber does not match the working channel. Yet another option is to use a 30° (rod lens) scope with an Albarran deflecting mechanism which enables the operator to deflect the laser fiber towards the target (Huber et al. 2008). This scope is rather wide and relatively short.

Follow-up

Patients are examined by ultrasound the day after the procedure to assess possible complications such as fetal viability, the occurrence of inadvertent septostomy or membrane separation and cervical length. In most countries monochorionic twins are followed up by two-weekly ultrasound. Postoperative surveillance even includes weekly ultrasound initially (Khalil et al. 2016). Apart from surgical complications and recurrence, fetal growth, brain, cardiac and limb development are to be followed up. Given that survivor after laser surgery are at inceased risk for neurological damage, some centers perform postoperative MRI, yet that is investigational (Weisz et al. 2014). If patients do not deliver spontaneous, we advocate delivery around 35weeks after a course of steroids as the risk for placental dysfunction increases afterwards (Stirnemann et al. 2012).

Results

Short term fetal outcome

The most important early complication is in utero fetal demise of one or both twins (45% and 12% respectively (Akkermans et al. 2015)). Early procedures (<17 weeks) have poorer outcomes than later ones, mainly by higher PPROM rates (Stirnemann et al. 2018).  TAPS is caused by  missed small anastomoses, up to 3% after dichorionization (Lewi et al. 2006) (Slaghekke et al. 2014). More uncommon is persisting or recurrent TTTS , which occurs in about 1%, e.g. due to technical difficulties with missed large anastomoses (Lewi et al. 2006) (Slaghekke et al. 2014).  Management will depend on gestational age and technical aspects. A second laser is possible but can be complicated by hemorrhagic amniotic fluid caused by the previous intervention.

Short term maternal outcome

Immediate postoperative maternal complications include peritoneal irritation due to amniotic fluid leakage and/or blood in the abdominal cavity. Although rare, hemorrhage, infection and placental abruption have been described. The clinically most relevant postoperative problems are preterm labor and delivery and membrane rupture. Iatrogenic PPROM is described in 27% of cases, potentially higher when using the Solomon technique (Beck et al. 2012, Akkermans et al. 2017).

Long term fetal outcome

There is level I evidence that primary laser coagulation improves survival. The Eurofoetus group showed that survival at 6 months in at least one twin was significantly higher and average delivery was later. In a recent systematic review including 34 studies, laser compared to drainage, was associated with an increased survival of both twins from 35 to 65% and survival of at least one twin from 70 to 88% (Akkermans et al. 2015).  In the Eurofoetus trial, the occurrence of cystic periventricular leukomalacia was lower after laser than after amniodrainage (Senat et al. 2004). The neurologic benefit persisted on the long term (Salomon et al. 2010). In a recent systematic review, the long term neurodevelopmental impairment was 10% after laser (van Klink et al. 2016).

For stage I the optimal management remains controversial (Khalil et al. 2016). There is currently an ongoing trial comparing immediate laser coagulation with expectant management followed by laser coagulation if necessary.

Potential complications include thermal injury. This may happen e.g. due to unexpected fetal movements, reportedly with minor or no consequences (Soriano-Ramos et al. 2019). However this happens infrequently and heals easily and completely. This should be differentiated from aplasia cutis congenita, in which lesions are symmetrical (Mugarab-Samedi et al. 2017). Another rare complication is vascular limb occlusion. This complication can vary in severity from superficial skin damage to total limb amputation and is mostly seen in lower extremities of the recipient. However the underlying mechanisms remain uncertain. It seems to be more likely a complication of TTTS than of laser therapy as it has been described after amnioreduction and in untreated MC pregnancies (Schrey et al. 2012).Long term maternal complications

Laser therapy seems to be safe for the mother with no impact  on subsequent fertility and pregnancies, or gynaecologic complications in the long term (Vergote et al. 2018). However, women who underwent laser coagulation were more likely to report relevant psychological symptoms, especially in the group with demise of one or both twins. This underscores the need for long term support of these patients.

Future perspectives and conclusion:

Laser surgery is the standard of care for TTTS because it is safe and it significantly improves survival rates and neurologic outcome compared to amniodrainage. Survival rates can still improve and membrane rupture rates should be reduced. Research is ongoing into thinner and flexible instruments, access port sealing devices, instrument stabilization or robotic assistance, to name a few.

Declarations

-     List of abbreviations

AA		Arterio-arterial

AV 		Arterio-venous

DC		Dichorionic

DVP 		Deepest vertical pocket

Hb 		Hemoglobin

MC		Monochorionic

PPROM		Preterm premature rupture of membranes

sIUGR		Selective intra-uterine growth restriction

TAPS 		Twin-anemia-polycythemia sequence

TTTS 		Twin-to-twin-transfusion syndrome

VV		Veno-venous

-     Ethical Approval and Consent to participate

Not applicable

-     Consent for publication

Not applicable

-     Availability of data and materials

Not applicable

-     Competing interests

The authors do not have any financial interests in the instruments or devices used, nor have they any conflicts of interest.

-     Funding

JD is partly funded by the Great Ormond Street Hospital Charity Fund. LVDV and JvdM is supported by the Erasmus+ Programme of the European Commission (2013-0040). LL is funded by the FWO (Fonds voor Wetenschappelijk Onderzoek) (1804718N). Our research on novel instrumentation in fetal surgery is supported by an Innovative Engineering for Health award by the Wellcome Trust (WT101957) and the Engineering and Physical Sciences Research Council (ESPRC) (NS/A000027/1).

-     Authors' contributions

LVDV and JDP drafted the manuscript. LVDV, LL, IC, RD, LDC, JvdM and JD did the procedures and acquired the images. All authors read, edited first and finally approved this version of the manuscript.

-     Acknowledgements

No further acknowledgements

-     Authors' information

LVDV, LL, IC, JvdM, LDC, RD and JD are in the Academic Department of Development and Regeneration, Cluster Woman and Child, Biomedical Sciences, KU Leuven, and Clinical Department of Obstetrics and Gynaecology, UZ Leuven, Leuven, Belgium.

Figure 1: Image from a placenta of a monochorionic pregnancy. Multiple anastomoses are present: 1AA (open star) ; 2 VV (full star) ; multiple AV (dotted circle) ; multiple VA (full circle). Reproduced with permission and copyright: UZ Leuven, Belgium.

Figure 2: Left: Schematic view of the placenta with the different types of anastomoses. Right: A) normal cotyledon with paired vessels, from and to the same fetus. B) Shared cotyledon, with artery and vein belonging to a different fetus. C) Superficial unpaired vessels, that do not connect closely. Drawing Myrthe Boymans, Reproduced with permission and copyright: UZ Leuven, Belgium.

Figure 3: Trocar entry with Seldinger technique. A) a 18G needle is inserted in the uterus. B) The guidewire is advanced through the needle. C)  The needle is removed and the cannnula is advanced over the guidewire. D) The guidewire is withdrawn to leave only the cannula as entry to the uterus. Reproduced with permission and copyright: UZ Leuven, Belgium.

Figure 4: Fetoscopic views of different landmarks used for mapping of the placenta. A) umbilical cord ; B) the membrane appears as a white line, donor vessels can be seen leaving under the membrane ; C) veins have a more typical red (oxygenated) color and arteries are darker (deoxygenated blood) ; D) The donor can be seen stuck under the membranes. E and F) schematic drawings how the stuck twin can relate to the vascular equator. Drawing Myrthe Boymans, all images reproduced with permission and copyright: UZ Leuven, Belgium.

Figure 5: Typical view with ultrasound (left) and fetoscopically (right) during active lasering. Reproduced with permission and copyright: UZ Leuven, Belgium.

Figure 6: Solomon-technique: after coagulating the anastomoses, coagulation points are connected by a continuous line from one placental border to the other for complete coagulation of all small vessels that may have been missed initially. This should lead to  functional “dichorionization”. Drawing Myrthe Boymans, all images reproduced with permission and copyright: UZ Leuven, Belgium.

Figure 7: For an anterior placenta a ‘curved scope can be used to achieve a more perpendicular view. Drawing Myrthe Boymans, reproduced with permission and copyright: UZ Leuven, Belgium. Photo: reproduced with permission from Karl Storz, Tuttlingen, Germany.

Video 1: local anesthesia is injected under ultrasound guidance.

Video 2: Trocar entry with Seldinger technique. Under ultrasound guidance a 18G needle is inserted in the uterus. The guidewire is advanced through the needle. Then the needle is removed and the cannula advanced over the guidewire. The guidewire is then withdrawn to leave only the cannula as entry port to the uterus.

Video 4: These are the landmarks to be found on the placenta: umbilical cord insertions, the intertwin membrane insertion and  the vessels connecting the two fetuses.

Video 5: Small vessels can be coagulated using short bursts of energy. The vessels and amnion will turn white as the proteins denaturate, a sign of coagulation. In case of larger vessels (>3mm), multiple shots along the course of the vessel might help to progressively obtain narrowing and finally completely obliterate it.

Video 6: Solomon-technique: after coagulating the anastomoses, these points will be connected by a continuous line from one placental margin to the other for complete coagulation of all small vessels that may have been missed initially hence cause functional dichorionization.

Video 7: Before ending the procedure a final check can be performed to visualize the coagulation trajectory.

Table 1. Frequently used endoscopes for minimal invasive fetal surgery

Outer diameter

(mm)

Working

length (cm)

Angle of view Type Flexibility Opening

angle

Additional

details

Company Reference

Nr

1.0 20.0 0° Fibre Semi-rigid 70° Deported

eyepiece

Storz 11510 A

1.2 30.6 0° Fibre Semi-rigid 70° – Storz 11505 AA

1.3 30.6 0° Fibre Semi-rigid 90° Deported

eyepiece

Storz 11540 AA

2.0 27.0 0° Fibre Semi-rigid – – Wolf 8754.401

2.0 30.0 0° Fibre Semi-rigid 95° Deported

eyepiece

Storz 11630 AA

3.5 30.0 30° Fibre Semi-rigid – – Wolf 8930.422S01

3.8 30.0 12° Fibre Semi-rigid – 1.67mm

working

canal

Wolf 8746.401

2.0 26.0 0° Rod lens Rigid – – Storz 26008 AA

2.0 26.0 12° Rod lens Rigid – – Storz 26008 FUA

2.0 26.0 30° Rod lens Rigid – – Storz 26008 BUA

3.0 60.0 0° Fibre Flexible,

steerable

– 1.0mm

working

canal

Wolf 7331.001

Table 1. Frequently used endoscopes for minimal invasive fetal surgery

Outer diameter

(mm)

Working

length (cm)

Angle of view Type Flexibility Opening

angle

Additional

details

Company Reference

Nr

1.0 20.0 0° Fibre Semi-rigid 70° Deported

eyepiece

Storz 11510 A

1.2 30.6 0° Fibre Semi-rigid 70° – Storz 11505 AA

1.3 30.6 0° Fibre Semi-rigid 90° Deported

eyepiece

Storz 11540 AA

2.0 27.0 0° Fibre Semi-rigid – – Wolf 8754.401

2.0 30.0 0° Fibre Semi-rigid 95° Deported

eyepiece

Storz 11630 AA

3.5 30.0 30° Fibre Semi-rigid – – Wolf 8930.422S01

3.8 30.0 12° Fibre Semi-rigid – 1.67mm

working

canal

Wolf 8746.401

2.0 26.0 0° Rod lens Rigid – – Storz 26008 AA

2.0 26.0 12° Rod lens Rigid – – Storz 26008 FUA

2.0 26.0 30° Rod lens Rigid – – Storz 26008 BUA

3.0 60.0 0° Fibre Flexible,

steerable

– 1.0mm

working

canal

Wolf 73

Table 1. Frequently used endoscopes for minimal invasive fetal surgery

Outer diameter

(mm)

Working

length (cm)

Angle of view Type Flexibility Opening

angle

Additional

details

Company Reference

Nr

1.0 20.0 0° Fibre Semi-rigid 70° Deported

eyepiece

Storz 11510 A

1.2 30.6 0° Fibre Semi-rigid 70° – Storz 11505 AA

1.3 30.6 0° Fibre Semi-rigid 90° Deported

eyepiece

Storz 11540 AA

2.0 27.0 0° Fibre Semi-rigid – – Wolf 8754.401

2.0 30.0 0° Fibre Semi-rigid 95° Deported

eyepiece

Storz 11630 AA

3.5 30.0 30° Fibre Semi-rigid – – Wolf 8930.422S01

3.8 30.0 12° Fibre Semi-rigid – 1.67mm

working

canal

Wolf 8746.401

2.0 26.0 0° Rod lens Rigid – – Storz 26008 AA

2.0 26.0 12° Rod lens Rigid – – Storz 26008 FUA

2.0 26.0 30° Rod lens Rigid – – Storz 26008 BUA

3.0 60.0 0° Fibre Flexible,

steerable

– 1.0mm

working

canal

Wolf 7331.001

| Outer diameter (mm) | Working-length (cm) | Angle of view | Type | Flexi-bility | Angle | Additional details | Company | ReferenceNr |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1.0 | 20.0 | 0° | Fibre | Semi-rigid | 70° | Deported eyepiece | Storz | 11510 A |
| 1.3 | 30.6 | 0° | Fibre | Semi-rigid | 90° | Deported eyepiece | Storz | 11540 AA |
| 2.0 | 30.0 | 0° | Fibre | Semi-rigid | 95° | Deported eyepiece | Storz | 11630 AA |
| 2.0 | 26.0 | 30° | Rod- lens | Rigid | - | - | Storz | 26008 BUA |
| 3.3 | 30.0 | 0° | Fibre | Rigid |  | Deported eyepiece | Storz | 11506 AAK |
| 3.3 | 30.0 | 0° | Fibre | Rigid |  | Deported eyepiece | Storz | 11508 AAK |

Table I: Frequently used endoscopes for minimal invasive fetal surgery

Acosta-Rojas, R., J. Becker, B. Munoz-Abellana, et al. (2007). "Twin chorionicity and the risk of adverse perinatal outcome." Int J Gynaecol Obstet 96(2): 98-102.

Akkermans, J., S. M. de Vries, D. Zhao, et al. (2017). "What is the impact of placental tissue damage after laser surgery for twin-twin transfusion syndrome? A secondary analysis of the Solomon trial." Placenta 52: 71-76.

Akkermans, J., S. H. Peeters, F. J. Klumper, et al. (2015). "Twenty-Five Years of Fetoscopic Laser Coagulation in Twin-Twin Transfusion Syndrome: A Systematic Review." Fetal Diagn Ther 38(4): 241-253.

Akkermans, J., S. H. Peeters, F. J. Klumper, et al. (2015). "Is the Sequential Laser Technique for Twin-to-Twin Transfusion Syndrome Truly Superior to the Standard Selective Technique? A Meta-Analysis." Fetal Diagn Ther 37(4): 251-258.

Akkermans, J., S. H. Peeters, J. M. Middeldorp, et al. (2015). "A worldwide survey of laser surgery for twin-twin transfusion syndrome." Ultrasound Obstet Gynecol 45(2): 168-174.

Akkermans, J., L. van der Donk, S. H. P. Peeters, et al. (2017). "Impact of Laser Power and Firing Angle on Coagulation Efficiency in Laser Treatment for Twin-Twin Transfusion Syndrome: An ex vivo Placenta Study." Fetal Diagn Ther 42(3): 204-209.

Beck, V., P. Lewi, L. Gucciardo, et al. (2012). "Preterm prelabor rupture of membranes and fetal survival after minimally invasive fetal surgery: a systematic review of the literature." Fetal Diagn Ther 31(1): 1-9.

Chalouhi, G. E., M. A. Marangoni, T. Quibel, et al. (2013). "Active management of selective intrauterine growth restriction with abnormal Doppler in monochorionic diamniotic twin pregnancies diagnosed in the second trimester of pregnancy." Prenat Diagn 33(2): 109-115.

Deprest, J. A., D. Van Schoubroeck, P. P. Van Ballaer, et al. (1998). "Alternative technique for Nd: YAG laser coagulation in twin-to-twin transfusion syndrome with anterior placenta." Ultrasound Obstet Gynecol 11(5): 347-352.

Gratacos, E., E. Antolin, L. Lewi, et al. (2008). "Monochorionic twins with selective intrauterine growth restriction and intermittent absent or reversed end-diastolic flow (Type III): feasibility and perinatal outcome of fetoscopic placental laser coagulation." Ultrasound Obstet Gynecol 31(6): 669-675.

Gucciardo, L., L. Lewi, P. Vaast, et al. (2010). "Twin anemia polycythemia sequence from a prenatal perspective." Prenat Diagn 30(5): 438-442.

Hall, J. G. (2003). "Twinning." Lancet 362(9385): 735-743.

Huber, A., A. A. Baschat, T. Bregenzer, et al. (2008). "Laser coagulation of placental anastomoses with a 30 degrees fetoscope in severe mid-trimester twin-twin transfusion syndrome with anterior placenta." Ultrasound Obstet Gynecol 31(4): 412-416.

Khalil, A., E. Cooper, R. Townsend, et al. (2016). "Evolution of Stage 1 Twin-to-Twin Transfusion Syndrome (TTTS): Systematic Review and Meta-Analysis." Twin Res Hum Genet 19(3): 207-216.

Khalil, A., M. Rodgers, A. Baschat, et al. (2016). "ISUOG Practice Guidelines: role of ultrasound in twin pregnancy." Ultrasound Obstet Gynecol 47(2): 247-263.

Klaritsch, P., K. Albert, T. Van Mieghem, et al. (2009). "Instrumental requirements for minimal invasive fetal surgery." Bjog 116(2): 188-197.

Lanna, M. M., S. Faiola, D. Consonni, et al. (2017). "Increased risk of placental abruption after solomon laser treatment of twin-twin transfusion syndrome." Placenta 53: 54-56.

Lewi, L. (2010). "Monochorionic diamniotic twin pregnancies pregnancy outcome, risk stratification and lessons learnt from placental examination." Verh K Acad Geneeskd Belg 72(1-2): 5-15.

Lewi, L., L. Gucciardo, T. Van Mieghem, et al. (2010). "Monochorionic diamniotic twin pregnancies: natural history and risk stratification." Fetal diagnosis and therapy 27(3): 121-133.

Lewi, L., J. Jani, I. Blickstein, et al. (2008). "The outcome of monochorionic diamniotic twin gestations in the era of invasive fetal therapy: a prospective cohort study." Am J Obstet Gynecol 199(5): 514 e511-518.

Lewi, L., J. Jani, M. Cannie, et al. (2006). "Intertwin anastomoses in monochorionic placentas after fetoscopic laser coagulation for twin-to-twin transfusion syndrome: is there more than meets the eye?" Am J Obstet Gynecol 194(3): 790-795.

Mahieu-Caputo, D., F. Muller, D. Joly, et al. (2001). "Pathogenesis of twin-twin transfusion syndrome: the renin-angiotensin system hypothesis." Fetal Diagn Ther 16(4): 241-244.

Mugarab-Samedi, V., A. Lodha, A. ElSharkawy, et al. (2017). "Aplasia cutis congenita as a result of interstitial laser therapy for fetal reduction in monochorionic twins: Conservative approach and outcome." Int J Surg Case Rep 41: 68-70.

Ortibus, E., E. Lopriore, J. Deprest, et al. (2009). "The pregnancy and long-term neurodevelopmental outcome of monochorionic diamniotic twin gestations: a multicenter prospective cohort study from the first trimester onward." Am J Obstet Gynecol 200(5): 494 e491-498.

Papanna, R., A. Johnson, R. T. Ivey, et al. (2010). "Laparoscopy-assisted fetoscopy for laser surgery in twin-twin transfusion syndrome with anterior placentation." Ultrasound in obstetrics & gynecology : the official journal of the International Society of Ultrasound in Obstetrics and Gynecology 35(1): 65-70.

Petersen, S. G., K. S. Gibbons, F. I. Luks, et al. (2016). "The Impact of Entry Technique and Access Diameter on Prelabour Rupture of Membranes Following Primary Fetoscopic Laser Treatment for Twin-Twin Transfusion Syndrome." Fetal Diagn Ther.

Quintero, R. A., P. W. Bornick, M. H. Allen, et al. (2001). "Selective laser photocoagulation of communicating vessels in severe twin-twin transfusion syndrome in women with an anterior placenta." Obstet Gynecol 97(3): 477-481.

Quintero, R. A., K. Ishii, R. H. Chmait, et al. (2007). "Sequential selective laser photocoagulation of communicating vessels in twin-twin transfusion syndrome." J Matern Fetal Neonatal Med 20(10): 763-768.

Quintero, R. A., W. J. Morales, M. H. Allen, et al. (1999). "Staging of twin-twin transfusion syndrome." J Perinatol 19(8 Pt 1): 550-555.

Salomon, L. J., L. Ortqvist, P. Aegerter, et al. (2010). "Long-term developmental follow-up of infants who participated in a randomized clinical trial of amniocentesis vs laser photocoagulation for the treatment of twin-to-twin transfusion syndrome." Am J Obstet Gynecol 203(5): 444 e441-447.

Schrey, S., A. Huber, K. Hecher, et al. (2012). "Vascular limb occlusion in twin-twin transfusion syndrome (TTTS): case series and literature review." Am J Obstet Gynecol 207(2): 131.e131-110.

Senat, M. V., J. Deprest, M. Boulvain, et al. (2004). "Endoscopic laser surgery versus serial amnioreduction for severe twin-to-twin transfusion syndrome." N Engl J Med 351(2): 136-144.

Slaghekke, F., W. J. Kist, D. Oepkes, et al. (2010). "Twin anemia-polycythemia sequence: diagnostic criteria, classification, perinatal management and outcome." Fetal Diagn Ther 27(4): 181-190.

Slaghekke, F., L. Lewi, J. M. Middeldorp, et al. (2014). "Residual anastomoses in twin-twin transfusion syndrome after laser: the Solomon randomized trial." Am J Obstet Gynecol 211(3): 285.e281-287.

Slaghekke, F., E. Lopriore, L. Lewi, et al. (2014). "Fetoscopic laser coagulation of the vascular equator versus selective coagulation for twin-to-twin transfusion syndrome: an open-label randomised controlled trial." Lancet 383(9935): 2144-2151.

Soriano-Ramos, M., E. Bergon-Sendin, M. T. Moral-Pumarega, et al. (2019). "Congenital Laser-Induced Burns: A Potential Complication after Laser Photocoagulation in Monochorionic Twin Pregnancy." Fetal Pediatr Pathol 38(4): 340-344.

Stirnemann, J., F. Djaafri, A. Kim, et al. (2018). "PPROM is a collateral effect of improvement in perinatal outcomes following fetoscopic coagulation of chorionic vessels for TTTS: a retrospective observational study of 1092 cases." BJOG.

Stirnemann, J. J., B. Nasr, M. Essaoui, et al. (2013). "A nomogram for perioperative prognostic risk-assessment in twin-twin transfusion syndrome." Prenat Diagn 33(2): 103-108.

Stirnemann, J. J., T. Quibel, M. Essaoui, et al. (2012). "Timing of delivery following selective laser photocoagulation for twin-to-twin transfusion syndrome." Am J Obstet Gynecol 207(2): 127.e121-126.

van Klink, J. M., H. M. Koopman, M. Rijken, et al. (2016). "Long-Term Neurodevelopmental Outcome in Survivors of Twin-to-Twin Transfusion Syndrome." Twin Res Hum Genet 19(3): 255-261.

Vergote, S., L. Lewi, W. Gheysen, et al. (2018). "Subsequent fertility, pregnancy and gynecologic outcomes after fetoscopic laser therapy for twin-twin transfusion syndrome compared to normal monochorionic twin gestations." Am J Obstet Gynecol.

Weisz, B., C. Hoffmann, S. Ben-Baruch, et al. (2014). "Early detection by diffusion-weighted sequence magnetic resonance imaging of severe brain lesions after fetoscopic laser coagulation for twin-twin transfusion syndrome." Ultrasound Obstet Gynecol 44(1): 44-49.